## Slide 1: Coulumns
Lecture (6)

## Slide 2: Short, slender, Braced & unbraced columns

## Slide 3: End conditions
le = β lo where β is a coefficient which is dependent on the end condition of the column, and lo is the clear height between the end restraints.

## Slide 4: Continued

## Slide 5: Continued

## Slide 6: Short columns
In the case of a column supporting e.g. a rigid structure or very deep beams, where it cannot be subjected to significant moments, they may be designed in accordance with Clause 3.8.4.3 such that the applied ultimate axial load does not exceed the following:
N = 0.4fcuAc+ 0.8Asc fy
Short Braced Columns Supporting an Approximately Symmetrical Arrangement of Beams (Clause 3.8.4.4).
N = 0.35fcuAc + 0.7Asc fy
where:
a) the beams are designed for uniformly distributed loads; and
b) the beam spans do not differ by more than 15% of the longer.

## Slide 7: Example
A short, braced column is subjected to an ultimate applied axial load of 3000 kN and a nominal moment only. Using the design data given: i) check that the column is short, ii) determine the required area of main reinforcement, iii) determine suitable links.
Characteristic strength of concrete fcu = 40 N/mm2
Characteristic strength of reinforcing steel fy = 460 N/mm2
Width of column b = 350 mm
Depth of column h = 375 mm
End condition at the top of the column for x−x axis = 1
End condition at the top of the column for y−y axis = 2
End condition at the bottom of the column for x−x axis = 3
End condition at the bottom of the column for y−y axis = 3
Clear height between the end restraints about both axes = 5.0 m

## Slide 8: Continued

## Slide 9: Continued

## Slide 10: Example

## Slide 11: Continued

## Slide 12: Continued

## Slide 13: continued

## Slide 14: continued

## Slide 15: continued

## Slide 16: Continued

## Slide 17: continued

## Slide 18: continued

## Slide 19: continued

## Slide 20: Biaxial bending
When it is necessary to consider biaxial bending and in the absence of more rigorous calculations in accordance with 3.4.4.1, symmetrically-reinforced rectangular sections may be designed to withstand an increased moment about one axis given by the following equations:

## Slide 21: continued

## Slide 22: Design charts
Design charts for symmetrically-reinforced columns Design charts for symmetrically-reinforced columns are given in BS 8110-3. They are based on Figure 2.1 and Figure 2.2 of this code (BS 8110-1)and the assumptions of 3.4.4.1. Note: BS 8110-3 uses a value of 1.15 for m, (1.05), for reinforcement, which is conservative. *The area of longitudinal steel for columns resisting axial loads and uniaxial or biaxial bending is normally calculated using the design charts in Part 3 of BS 8110. It should be noted that each chart is particular for a selected 1. characteristic strength of concrete, fcu; 2. characteristic strength of reinforcement, fy; 3. d/h ratio. Design charts are available for concrete grades 25, 30, 35, 40, 45 and 50 and reinforcement grade 460. For a specified concrete and steel strength there is a series of charts for different d/h ratios in the range 0.75 to 0.95 in 0.05 increments.

## Slide 23: Example, Design chart

## Slide 24: Continued
longitudinal bar, that is, 12 × 20 = 240 mm, or (b) the smallest cross-sectional dimension of the column (= 275 mm). Provide H8 links at 240 mm centres

## Slide 25: continued

## Slide 26: continued

## Slide 27: Example, biaxial bending

## Slide 28: continued

## Slide 29: Simplified method

## Slide 30: continued

## Slide 31: Example

## Slide 32: continued

## Slide 33: Deflection induced moments in solid slender columns
The deflection of a rectangular or circular column under ultimate conditions may be taken to be: au = aKh. In this expression a has the value obtained from Table 3.21 or, alternatively, from equation 34 from which the table is derived, where K is a reduction factor that corrects the deflection to allow for the influence of axial load. K is derived from the following equation:
where Nuz = 0.45fcuAc + 0.95fyAsc (including allowances, as appropriate for m).
The appropriate values of K may be found iteratively, taking an initial value of 1. Alternatively, it will
always be conservative to assume that K = 1.
Table 3.21 is derived from the following equation:
NOTE b/ is generally the smaller dimension of the column (but see 3.8.3.6 for biaxial bending).
The deflection induces an additional moment given by:

## Slide 34: Design moments in braced columns bent about a single axis
Figure 3.20 shows the distribution of moments assumed over the height of a typical braced column. It may be assumed that the initial moment at the point of maximum additional moment (i.e. near mid-height of the column) is given by:
Where M1 is the smaller initial end moment due to design ultimate loads; M2 is the larger initial end moment due to design ultimate loads. Assuming the column is bent in double curvature, M1 should be taken as negative and M2 positive. It will be seen from Figure 3.20 that the maximum design moment for the column will be the greatest of a) to d):

## Slide 35: Design moments, braced columns

## Slide 36: Unbraced columns

## Slide 37: Example, braced column

## Slide 38: continued

## Slide 39: continued

## Slide 40: continued

## Slide 41: continued